## Data Summary
QC5 Effective gain
Username: | IRFAN | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | ORTEC 474 |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3899.4 | 700 |  | 967 | 22.3 | 393 | 19.8242 | 96084 | 309.9742 | -5.6962e-12 | 9.0037e-12 | -1.9942e-09 | 2.059e-10
Fine Gain: | 4.5 |  |  |  | 3844.4 | 690 |  |  |  | 362 | 19.0263 | 84141 | 290.0707 | -3.2864e-12 | 6.2042e-12 | -1.377e-09 | 1.3336e-10
Diff Time (ns): | 100 |  |  |  | 3788.4 | 680 |  |  |  | 322 | 17.9444 | 78514 | 280.2035 | -1.873e-12 | 5.7479e-12 | -9.353e-10 | 9.4252e-11
Int Time (ns): | 100 |  |  |  | 3733.4 | 670 |  |  |  | 359 | 18.9473 | 75191 | 274.2098 | 2.3743e-13 | 5.2466e-12 | -6.5104e-10 | 6.2129e-11
Detector Settings |  |  |  |  | 3677.4 | 660 |  |  |  | 290 | 17.0294 | 71625 | 267.6285 | 1.1462e-12 | 5.0227e-12 | -4.4679e-10 | 4.8212e-11
[5 empty] | 3622.4 | 650 |  |  |  | 216 | 14.6969 | 69430 | 263.4957 | 1.4722e-12 | 4.5115e-12 | -3.0873e-10 | 3.3419e-11
Serial Number: | GE11-X-L-CERN-0027 |  |  |  | 3566.4 | 640 |  |  |  | 239 | 15.4596 | 67442 | 259.696 | 2.3422e-12 | 4.7964e-12 | -2.1228e-10 | 2.0837e-11
Position (ieta,iphi): | 42 |  |  |  | 3510.4 | 630 |  |  |  | 190 | 13.784 | 66250 | 257.3908 | 2.1369e-12 | 4.4922e-12 | -1.4799e-10 | 1.4821e-11
Gas (X/Y/Z): | Ar+CO2 |  |  |  | 3455.6 | 620 |  |  |  | 169 | 13 | 64325 | 253.6237 | 2.3756e-12 | 4.4471e-12 | -1.0469e-10 | 1.1725e-11
Gas Frac (%X/%Y/%Z): | 70:30 |  |  |  | 3399.6 | 610 |  |  |  | 133 | 11.5326 | 61543 | 248.0786 | 2.7113e-12 | 4.3811e-12 | -7.1743e-11 | 9.0253e-12
Flow Rate (L/hr): | 5 |  |  |  | 3344.6 | 600 |  |  |  | 104 | 10.198 | 57458 | 239.704 | 3.5288e-12 | 4.3042e-12 | -5.0417e-11 | 6.4534e-12
HV Circuit R_Equiv (MOhm): | 5.6 |  |  |  | 3288.6 | 590 |  |  |  | 72 | 8.4853 | 46901 | 216.5664 | 3.6399e-12 | 4.1618e-12 | -3.4094e-11 | 5.108e-12
Total HV Divider R (MOhm): | 4.69 |  |  |  | 3233.6 | 580 |  |  |  | 78 | 8.8318 | 29251 | 171.0292 | 4.0221e-12 | 3.8071e-12 | -2.2233e-11 | 4.3417e-12
R_Drift (MOhm): | 1.12 |  |  |  | 3177.6 | 570 |  |  |  | 51 | 7.1414 | 20993 | 144.8896 | 5.0962e-12 | 3.8649e-12 | -1.4745e-11 | 4.6719e-12
R_GEM1 (MOhm): | 0.56 |  |  |  | 3121.8 | 560 |  |  |  | 34 | 5.831 | 10994 | 104.8523 | 4.5466e-12 | 3.806e-12 | -9.3186e-12 | 3.8755e-12
R_Transfer1 (MOhm): | 0.44 |  |  |  | 3066.8 | 550 |  |  |  | 32 | 5.6569 | 2746 | 52.4023 | 4.5011e-12 | 3.5745e-12 | -5.4523e-12 | 4.056e-12
R_GEM2 (MOhm): | 0.55
R_Transfer2 (MOhm): | 0.875 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.52 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.63 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | ORTEC935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | 100 |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | -0.006 |  |  | 700 | 3899.4 | 3283 | 1594.85 | 5.1768 | -1.9885e-09 | 2.061e-10 | 22494.3226 | 2340.1161
Width (ns): | 400 |  |  | 690 | 3844.4 | 3236.1 | 1396.3167 | 4.8449 | -1.3737e-09 | 1.3351e-10 | 15539.4344 | 1516.6668
Picoammeter Settings |  |  |  | 680 | 3788.4 | 3189.2 | 1303.2 | 4.6796 | -9.3343e-10 | 9.4427e-11 | 10558.9794 | 1072.3741
|  |  |  | 670 | 3733.4 | 3142.3 | 1247.2 | 4.5811 | -6.5127e-10 | 6.235e-11 | 7367.2376 | 708.4054
Make & Model: | kiethley 6487 |  |  | 660 | 3677.4 | 3095.4 | 1188.9167 | 4.4695 | -4.4793e-10 | 4.8473e-11 | 5067.0354 | 550.2133
Triax Red: | signal |  |  | 650 | 3622.4 | 3048.5 | 1153.5667 | 4.3984 | -3.102e-10 | 3.3722e-11 | 3508.974 | 382.7646
Triax Black: | shielding |  |  | 640 | 3566.4 | 3001.6 | 1120.05 | 4.3359 | -2.1463e-10 | 2.1382e-11 | 2427.8601 | 242.8535
Triax Green: | gnd |  |  | 630 | 3510.4 | 2954.7 | 1101 | 4.296 | -1.5013e-10 | 1.5487e-11 | 1698.2993 | 175.8506
Scalar Settings |  |  |  | 620 | 3455.6 | 2907.8 | 1069.2667 | 4.2326 | -1.0706e-10 | 1.254e-11 | 1211.1037 | 142.2716
|  |  |  | 610 | 3399.6 | 2860.9 | 1023.5 | 4.1391 | -7.4454e-11 | 1.0032e-11 | 842.2296 | 113.74
|  |  |  | 600 | 3344.6 | 2814 | 955.9 | 3.9987 | -5.3946e-11 | 7.7571e-12 | 610.2404 | 87.9198
Make & Model: | CAEN N1145 |  |  | 590 | 3288.6 | 2767.1 | 780.4833 | 3.6122 | -3.7734e-11 | 6.5888e-12 | 426.8474 | 74.632
Acquisition Time (s): | 60 |  |  | 580 | 3233.6 | 2720.2 | 486.2167 | 2.8543 | -2.6255e-11 | 5.7744e-12 | 296.9975 | 65.375
Source Settings |  |  |  | 570 | 3177.6 | 2673.3 | 349.0333 | 2.4178 | -1.9842e-11 | 6.0634e-12 | 224.4498 | 68.6187
|  |  |  | 560 | 3121.8 | 2626.4 | 182.6667 | 1.7502 | -1.3865e-11 | 5.4318e-12 | 156.8431 | 61.4612
Source: | Ag X-Ray |  |  | 550 | 3066.8 | 2579.5 | 45.2333 | 0.87845 | -9.9534e-12 | 5.4064e-12 | 112.5934 | 61.1654
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.45 |  | P0 | 964.4 |  |  | 700,22494.3226313259,2340.11610995738
Filter Status: | 10 layers Cu tape |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | 690,15539.4344089517,1516.66681913108
Collimator Status: | Enter value |  |  | Avrg pressure (mbar) | 967 | [5 empty] | 680,10558.9794107853,1072.37408220727
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 670,7367.2375654942,708.405439484275
|  |  |  | Expo_fit_1_param_1 | 3.9159e-07 | [5 empty] | 660,5067.03540993987,550.213304952776
|  |  |  | Expo_fit_1_param_2 | 0.035301 | [5 empty] | 650,3508.97396283602,382.764583445833
640,2427.86013333394,242.853547464559
630,1698.29928565544,175.85056637714
620,1211.10371596189,142.271598126787
610,842.229554266172,113.739993662778
600,610.24037852648,87.9198373645803
590,426.847425654391,74.6319606164031
580,296.997542638569,65.3750206341273
570,224.449770223227,68.6187047337703
560,156.843143305324,61.4612175369725
550,112.59337292407,61.1654125518467

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On